## Slide 1: Inlay Resurfacing Arthroplasty
Phil Davidson, M.D.
Davidson Orthopaedics
Park City, Utah
Boise, ID April 20, 2017

## Slide 2: OUTLINE
Perspective on resurfacing
Indications – Spectrum of Pathologies
Introduction of Inlay Arthroplasty Concept
  Biomechanical Basis
Knee & Shoulder
  Techniques
  Cases
  Results

## Slide 3: WHAT WOULD YOU DO?? 49 yr old f, no laxity, anterior only VAS 5-8 pain, >10 yrs worsening, TT-TG 14, no response to non-op measures, pain now limiting ADL

## Slide 5: Treatment Options
Further meds, modify activity, Defer TKA
Scope, debride, lat release
Scope, debride, realign
Traditional Onlay PFA
Inlay PFA, realign
Other

## Slide 6: Cartilage Restoration and Joint Resurfacing A wide realm between…..
Arthroscopic
debridement

## Slide 7: Theme Cartilage Restoration and Joint Resurfacing
Spectrum of Pathology
Individualize according to the specific patient
Wide array of treatment options
Biologic Restoration in youth, when possible
Appropriate Minimally Invasive Prostheses
Continually incorporating new technologies

## Slide 8: How do we systematically, scientifically and effectively get a handle on these challenging cases?
39 year old female ski guide
31 year old UPS worker

## Slide 9: Joint Restoration Treatments: …an evolving continuum of options, biological thru prosthetic
Debridement
Marrow stimulation
Biological restoration
  Biologic grafts
  Biosynthetics
  Scaffolds
  Cellular therapy
Prosthetic Resurfacing
  Bio-Prosthetic mix
  Inlay Arthroplasty
  Onlay Arthroplasty
  Total Joint

## Slide 10: Biological Options
Cell Therapies
  ACI
  MACI
  Stem cells
  Nanofracture
Osteochondral Grafts
  Autogenous
  Allogeneic
Chondral grafts
  Cartiform
  Particulated
Biologically Active Scaffolds

## Slide 11: Nanofracture Modern “microfracture”
1x9mm channel
Little risk of subchondral fx
No thermal necrosis
Optimal access for MSCs
Ideal for femur, limited in patella

## Slide 12
Nanofracture Diameter
1mm
Border with low regularity
Open trabecular channel
K-Wire Diameter
1mm
Border with high regularity
Walsh WR et al. Surgical & Orthopaedic Research Laboratories (SORL) Prince of Wales Clinical School, Sydney, Australia.®
Microfracture Surface Diameter
2.5mm
Border with high regularity

## Slide 13: Biologic or Prosthetic Resurfacing ???? Key decision making point
Multifactoral decision
  Lesion/Cartilage nearby
  Patient Factors
  Age (biological)
  Comorbidities
  Joint Status
  Resources

## Slide 14: Decision Making – Bio vs. Prosthetic Lesion/Cartilage Nearby
Health of nearby cartilage can guide decision
Consider what is being preserved
Osteophytes are clearly sign of progressive degeneration which mitigates against a bio option

## Slide 15: Decision Making – Bio vs. Prosthetic
Patient Factors
  Expectations
  Vocation
  Activities, Athletics
  Complicity
Age
  Biological, not just chronological
Comorbidities
  Systemic Arthritis, crystalline disease
  BMI
  Diabetes
  Smoking
  Medical Illness
34 year old cyclist

## Slide 16: Decision Making – Bio vs. Prosthetic Joint Morphology
Biologic Solutions are less likely to work in joint which has lost contour
Mechanical stresses on bio surfaces must be taken into account
Is the joint “out of round” ?
  osteophytes or flattening
Is the joint subluxed?
  Not only prosthetic, but some constraint indicated

## Slide 17: Radiographic Guide to Bio vs. Prosthetic
Kellgren-Lawrence Grading Scale
Generally Biological Resurfacing……
Grade 0 = Normal
Grade 1 = Doubtful narrowing of the joint space and possible osteophytic lipping
Grade 2 = Definite osteophytes, definite narrowing of the joint space
Generally Prosthetic Resurfacing…..
Grade 3 = Moderate multiple osteophytes, definite narrowing of joints space, some sclerosis and possible deformity of bone contour
Grade 4 = large osteophytes, marked narrowing of joint space, severe sclerosis and definite deformity of bone contour.
KL 2
KL 2

## Slide 18
Age >35yrs, mean 44.6yrs
2 groups: 30 bio resurfacing, 32 CAP
2yr min f-u

## Slide 19: Transitional thinking from biologics to prosthetics
Once progress in resurfacing algorithm from bio to prosthetic need conceptual framework
Inlay
Onlay
Bone sacrificing ( traditional)

## Slide 20: Why Consider Resurfacing?
Need for bridging or intermediary procedure in younger patients
Preserve healthy anatomy in older patients
Increased burden of US TKA --- 4M with TKA, 1.5M between 50-69 yrs
  Weinstein, JBJS March, 2013
15% of total knee patients have severe or extreme persistent pain three to four years post op.
  Wylde V, Pain 2011
19% of middle aged patients were satisfied with the outcome of their total knee replacement
  Bourne et al., Clin Orthop Relat Res 2010

## Slide 21: Inlay Joint Resurfacing

## Slide 22: Inlay Resurfacing
Accommodates morphologic variability and size
Intraoperative Topographic mapping
Preserves anatomy, minimal bone resection
Truly an inset, therefore limited mechanical stress

## Slide 23: Introduction of CAP
Geometry based on patient’s native anatomy
Intraoperative joint mapping
Account for complex asymmetrical geometry
Extension of biological resurfacing

## Slide 24: Patient Contour Match
Surface milling
Stable stud screw
Bone sparing
No encroachment

## Slide 25: Inlay Resurfacing: Anatomical Reconstruction
Accommodate complicated curvatures
Minimally invasive procedure allows for concurrent reconstructions
Inlay Arthroplasty is intrinsically stable as it is literally inset. No edge loading.
Accounts for morphologic variability

## Slide 26: ANATOMY- Alignment
Must know alignment, potentially correct or accommodate with resurfacing
Must have long leg standing films available
For PF need Merchant view
CANNOT restore joint height with inlay implant

## Slide 27: Inlay- Platform Technology
Multiple Joints
Multiple sizes and shapes
Metallic Inlay in conjunction with stud or set-screw
Poly Technology uses cement in socket to achieve congruity

## Slide 28: Inlay Advantages
  Able to restore mechanical “smoothness”
  Alleviates pain
  Avoid or limit propagation of chondral defects
  Low volume, prevents encroachment on other parts of joint
  Minimally invasive, low morbidity, outpatient procedure
  Revision to subsequent arthroplasty is easy due to shallow implant bed with minimal bone resection
  Ample room for ACL, osteotomy, soft tissue procedures
  Relatively focal treatment preserving healthy adjacent anatomy

## Slide 29: Inlay - Limitations and Concerns
  No angular or height correction can be obtained with an inlay implant
  Must accommodate or account for loss of ROM
    Stiff knee- consider tissue releases, other choices
  Must consider reciprocal surface, resurface if needed
    Extensive tibial cartilage loss mandates onlay resurfacing to cover more of tibia
  Be cautious and specific about referred pain and radiating pain patterns.

## Slide 30: Reciprocal surface not stressed by implant if flush or slightly recessed Becher, C.;Huber,R.;Thermann, H.; Paessler, H.E.; Skrbensky, G.: Effects of a contoured articular prosthetic device on tibiofemoral peak contact pressure: a biomechanical study. Knee Surg Sports Traumatol Arthrosc. January; 16(1): 56–63. 2008
untreated knee flush HemiCAP® 1mm proud HemiCAP®
Anterior
Posterior

## Slide 31
  Finite Element - Analysis
Physiological
With HemiCAP
Conclusion:
No stress shielding
Effective load transmission into underlying bone

## Slide 32
Inlay Arthroplasty: Tibiofemoral

## Slide 33: Inlay Advantages vs Traditional Uni
  UniCAP may prevent patello-femoral complications/encroachment of conventional UKA through inlay resurfacing
  Revision to standard UKA may be possible due to shallow implant bed resurfacing technique
    UniCAP avoids L-cut
  Ample room for ACL, osteotomy, soft tissue procedures
  Meniscal sparing technology for patients with healthy, functional meniscus

## Slide 34: Inlay Limitations and Concerns
  NO angular correction
  Tibial surface:
    Only for central lesions
    More common lesions are peripheral, submeniscal
    Extensive tibial chondral loss, need other option
  Patient selection remains critical:
    Treat all pathology in the knee – homeostasis
  Be cautious and specific about referred pain and radiating pain patterns
    Tibial pain is important to note!
    Don’t want to undertreat tibia

## Slide 35: UniCAP™- PUNI (femoral condyles) aka… inlay arthroplasty, scope assisted Uni, AKR , etc..

## Slide 36: Cement- 2 good reasons 1. FDA 2. Pain relief

## Slide 37: UniCAP case example – medial knee resurfacing 46 year old cyclist

## Slide 38: UniCAP – medial knee resurfacing

## Slide 39: UniCAP – medial knee resurfacing

## Slide 40: UniCAP – medial knee resurfacing

## Slide 41: UniCAP – medial knee resurfacing

## Slide 42: UniCAP – medial knee resurfacing

## Slide 43: 29yr female teacher, mom, skier
Failed 2nd ACL graft
Knee Unstable
Pain medial, lateral, anterior
Relevant details:
  Osteophytes
  Tibial cartilage damage
  Tricompartmental
  Degenerative, non-focal lesions
Prosthetic NOT Bio resurfacing

## Slide 44: intra op
Planning and sequencing surgery:
Scope debride
ACL tunnels
Arthrotomy
LFC resurface prep
MFC resurface prep
Implant resurfacing devices
ACL graft passage and fixation
Closure
MFC
LFC

## Slide 45: 2 yrs post op

## Slide 46: Case Report – 51 year old, failed Microfracture, unable to exercise due to medial knee pain

## Slide 47: 1 year post microfracture,no pain relief …excellent indication for Inlay Resurfacing

## Slide 48: Minimum 5-year results of focal articular prosthetic resurfacing for the treatment of full-thickness articular cartilage defects in the knee. Becher, C. et.al. Arch Orthop Trauma Surg . DOI 10.1007/s00402-011-1323-4. June, 2011.
21 patients, mean age 54 yrs, minimum f-u 5 yrs, small focal unipolar lesions
KOOS scores improved significantly (P < 0.005)
  pain (51.1 to 77.6),
  symptoms (57.9 to 79.5),
  ADL (58.8 to 82.4),
  Sports (26.3 to 57.8)
Tegner activity level
  improved significantly (P< 0.02) from 2.9 to 4.
SF-36(physical) increased by 15.2 to 46.9 compared to the preoperative value
16/21 of the would have the operation again.
Radiographic results:
  solid fixation, preservation of joint space and no change in the osteoarthritic stage.

## Slide 49: Inlay Arthroplasty: Tibiofemoral
Miniaci et al. ISAKOS 2011, Rio de Janeiro

## Slide 50: PFA (patellofemoral arthroplasty)

## Slide 51
The HemiCAP® resurfacing platform technology … a new paradigm in joint resurfacing,
Based on intraoperative joint surface mapping
Restoration of complex geometric surfaces in a variety of morphologic and pathologic states.”
Davidson PA, Rivenburgh D.
Focal anatomic patellofemoral inlay resurfacing: theoretic basis, surgical technique, and case reports.
Orthop Clin North Am. 2008 Jul;39(3):337-46, vi.

## Slide 52: Inlay vs Onlay Arthroplasty: Patellofemoral
Schöttle PB, Latterman C.
Therapie der patellofemoralen Arthrose beim jungen Patienten.
Arthroskopie Volume 23, Number 3, 215-223
Comparison of Prosthetic Designs
LEFT: Onlay PF Implant Adding 8mm CENTER and RIGHT: Inlay WAVE PF Implant without facet height changes

## Slide 53: PFA- Inlay Resurfacing
Trochlea alone or Bipolar
Traditional, historic prostheses limited success and rarely used
Inlay device allows for concurrent re-alignment easily, as no overstuffing
Inlay device can handle very advanced PF DJD and morphologic variability
Hypoplastic, aplastic trochlea can be given concavity
Traditional PFA
Inlay PFA- FTG

## Slide 54
Implant design reapproximates anatomy
Normalizes patellofemoral surface and knee contact pressures."
Provencher M, Ghodadra N, Verma N, Cole BJ, Zaire S, Shewman E, Bach B.
Patellofemoral Kinematics After Limited Resurfacing of the Trochlea.
J Knee Surg. 2009;22:310-316

## Slide 55
van der Merwe et al. Patellofemoral Study Group Meeting 2011
Inlay Arthroplasty: Patellofemoral

## Slide 56: Trochlear Implants Variety of Geometry

## Slide 57: Patellar Implants Variety of Sizes/Shapes, Cemented

## Slide 58: Our original case

## Slide 60: Alignment

## Slide 61: Post op. 3 yrs. Full ROM, VAS pain 0-2 with activities.

## Slide 62: Inlay allows ample room for other procedures ( ACL reconstruction)

## Slide 63: Technical Failure 38 yr old 9 mos post op - no pain relief from unipolar UniCAP synovitis, cartilage debris, UniCAPproud, tibial wear, FTG defect

## Slide 64: Failure “normal” fibrous overgrowth, asymetric, proud

## Slide 65: UniCAP removal- revision to UKA

## Slide 66: “Ideal” First Patient for Inlay
30-60 yrs
Nearly normal alignment
Biologics not indicated
Unicompartmental disease (III b,c or IV)
“Staging” Scope or scope photos

## Slide 67: Managing Utilization …..facilitating planning
Arthroscopic images are extremely helpful, if not critical
Chondral Fissures are key issue, cannot differentiate statically between stable and unstable grade III lesions….
MRI – 3T Fat Suppressed Fast Spin Echo, cartilage sequences
Have multiple surgical options available- difficult or expensive
Role for in-office diagnostic arthroscopy??

## Slide 68: SHOULDER RESURFACING
Focal Defects
AVN
Instability Defects
Post Traumatic Arthrosis
Osteoarthritis

## Slide 69: AVN-Operative

## Slide 70: Humeral Head Defects Reverse Hill Sachs
Left Locked Post Dislocation

## Slide 71: Degenerative Joint Disease

## Slide 72: Sweet SJ, Takara T, Ho L, Tibone JE.
20 shoulders
Mean follow-up period 32.7 mo
ASES: 24.1 to 78.8
Simple Shoulder Test: 3.95 to 9.3
VAS pain: 8.2 to 2.1
Forward flexion: 100° to 129°
External rotation: 23° to 43°
(P < .001 for all)
Patient shoulder self-assessment: 90% poor before surgery and improved to 75% good to excellent
Primary partial humeral head resurfacing: Outcomes with the HemiCAP implant.
Am J Sports Med. 2015 Mar;43(3):579-87.
Shoulder - OA

## Slide 73: HemiCAP for RCT and Osteoarthritis
73 y/o Male, Tennis player with a failed previous rotator cuff repair
Previous surgical findings of articular disease

## Slide 76
Open Rev. RCR with Augmentation, HemiCap for RCT and Osteoarthritis
  Post-op marked pain relief
  Improved ROM
  Marked decrease in pain

## Slide 77: ANATOMIC INLAY RESURFACING FOR GLENOHUMERAL OSTEOARTHRITIS Clinical Results in a Consecutive Case Series

## Slide 78: Surgical Technique
Anterior approach
Subscapularis take down
Capsular releases
Osteophyte resection on both humerus and glenoid
NO glenoid resurfacing or reaming

## Slide 79: Demographic Data
N = 48
  Males – 29
  Female – 19
Mean age at surgery
  61 years
Follow-up
  Mean – 28 mos.
  Max – 36 mos.
  Min – 13 mos.
Side
  Right – 19
  Left - 14

## Slide 80: HemiCAP in OA
Concurrent Procedures
  Rotator Cuff Repair
    12
  Subacromial Decompression
    25
  Distal Clavicle Resection
    23
  Biceps Tenodesis
    2
  Biceps Tenotomy
    21
  Capsulolabral Repair
    5
  Hardware Removal
    1

## Slide 81: Simple Shoulder Test

## Slide 82: VAS Pain

## Slide 83: NO reported loosening of implant in the shoulder
No signs of
Device disengagement
Progressive periprosthetic radiolucency
Implant subsidence

## Slide 84: 2015 Australian Arthroplasty Registry
Lowest Revision Rate for HemiCAP
among all shoulder arthroplasty classes
HemiCAP Hemi Onlay Stemmed Hemi Stemmed Total Reverse
Chart: 
Stemmless HemiCAP All ages | 0.57
Stemmless HemiCAP All ages
Hemi Onlay Resurfacing <55 | 2.49
Hemi Onlay Resurfacing 55-64 | 3.22
Hemi Onlay Resurfacing 65-74 | 1.51
Hemi Onlay Resurfacing >75 | 1.42
Hemi Onlay Resurfacing >75
Stemmed Hemi Shoulder Replacement <55 | 2.99
Stemmed Hemi Shoulder Replacement 55-64 | 2.34
Stemmed Hemi Shoulder Replacement 65-74 | 1.45
Stemmed Hemi Shoulder Replacement >75 | 1.53
Stemmed Hemi Shoulder Replacement >75
HemiCAP
All Ages
Hemi Onlay Resurfacing
<55 ------------->75 yrs
Stemmed Hemi Arthroplasty
<55 --------------------->75 yrs
Stemmed Total Arthroplasty
<55 --------------------->75 yrs
Stemmed Reverse Arthroplasty
<55 --------------------->75 yrs

## Slide 85
Inlay Glenoid

## Slide 86: Angled approach for spherical reaming
30°
30°axis angle to slide past Humerus

## Slide 87: Inlay Glenoid Resurfacing
Off axis instrumentation
Access with head or implant in place
Full disposable kit
2 sizes for coverage
Total Shoulder Resurfacing

## Slide 88: Pinkas D Wiater B Wiater JM
The Glenoid Component in Anatomic Shoulder Arthroplasty.
J Am Acad Orthop Surg. 2015 May;23(5):317-326.
The inlay design permits partial resurfacing of the glenoid, leaving a peripheral rim of bone that potentially improves liftoff resistance and stability.
HemiCAP glenoid replacement system (Arthrosurface) an inset glenoid component.

## Slide 89: Advantages of Inlay Resurfacing
Immediate, excellent pain relief
Simple, canulated, reproducible, yet elegant surgery
Very few soft tissue balancing challenges
Minimally bone sacrificing
Minimal EBL, can be outpatient
Can easily convert to traditional or reverse arthroplasty
Patient acceptance
Allows concurrent soft tissue procedure
Maintain cartilage restoration principles
Based on patient, or ambient anatomy

## Slide 90: Closing thoughts…..Joint Resurfacing
Minimize Perioperative morbidity
Retain future options – as much as possible
  Resurfacing may be a bridging procedure
Maximize Outcomes
  Equal, or better than traditional treatments
Offering additional options to patients that may have had few alternatives

## Slide 91: Thank You phildavidsonmd@gmail.com davidsonorthopedics.com